## Slide 1
Course 50374
Microsoft Virtualization and Management for the Experienced VMware IT Pro
Notes: Please follow these guidelines when building the PowerPoint deck:
Keep one PPT deck for each Module
Each Module should contain
  Objectives
  Content
  Summary
Typically you should allocate 20-25 slides per hour of instruction
Slides should not substitute for a student manual – keep words to a minimum, and use bullets and graphics as much as possible
Speaker notes are important

## Slide 2: Class Schedule
Day 1
  Module 1: Course Orientation
  Module 2: Microsoft Hyper-V and System Center Comparison to vSphere and vCenter
  Module 3: Managing and Protecting Storage in Hyper-V
  Module 4: High Availability

## Slide 3
Module 4: High Availability
Notes: This module provides an overview of storage technologies that are used with Microsoft® Hyper-V®, explains the key storage issues when moving from VMware, and compares Hyper-V and VMware storage migration technologies.
After completing this module, you will be able to:
Describe storage technologies that are used with Hyper-V.
Understand the differences in storage configurations in Hyper-V and VMware environments.
Understand the highly available storage technologies that you can use with Hyper-V.
Describe Hyper-V snapshot technologies.
Understand and compare storage migration in Hyper-V and VMware.

## Slide 4: Module 4 Lessons
Lesson 1: Overview of High Availability
Lesson 2: Failover Clusters
Lesson 3: Cluster Shared Volumes
Lesson 4: Business Continuity
Lesson 5: Migrating Virtual Machines
Notes: In Lesson 1, you learn about how high availability technologies are used to support server virtualization requirements.

## Slide 5: High Availability
Hyper-V high availability
  Only requires Hyper-V
  Enables you to create 16-node failover clusters
  Includes live migration of virtual machines
Take advantage of Microsoft Cluster Service
  Define virtual machines and storage as cluster resources
  Automatically keep them running
    Automatic failover if node fails
    Automatic failback can be configured
    Automatic workload balancing when combined with Microsoft System Center tools
Use live migration technology with no “downtime”
It is recommended to reserve a maintenance host in the cluster for failover purposes or reserve capacity in the cluster so that a single-node failure can spread the VMs on other nodes
Have multiple 16-node clusters running concurrently
Notes: High availability (HA) for Hyper-V takes advantage of failover clustering to interconnect Hyper-V servers and enable sharing and migration of resources. Using the clustering services enables you to create one or more 16-node clusters of Hyper-V hosts with automatic failover and failback of resources.
Failover clustering can also treat virtual machines (VMs) on Hyper-V hosts as a movable resource that you can dynamically move from one cluster node to another. This enables you to move a virtual machine between nodes for failover and maintenance purposes. You can move the VM resource with no perceivable downtime by using live migration.
To support failover in a manual or automated fashion, there must be resources available that the VM can use when it dynamically moves. This requires proper planning of resources across all cluster nodes so that there are enough reserve resources to host VMs in the event of a single node failing.

## Slide 6: HA Defined
VHD
Shared Storage
Backup/Recovery
Secondary Site
Primary Site
Storage Array
Storage Array
Business Continuity
High Availability
Disaster Recovery
Backup and Recovery
Disaster Recovery
Backup/Recovery
Backup/Recovery
Clustering
Quick/Live Migration
  Site-level crisis—resuming data and IT operations
  Presumes that the rest of the environment is active
  Presumes that infrastructure is fine; 97 percent of use cases related to files or small units
Notes: Business continuity is the ability to minimize scheduled and unscheduled downtime for IT systems in an organization.
HA presumes a contained failure and that the rest of the environment is active. In a Microsoft Hyper-V environment, clustering and quick or live migration primarily provide HA.
Disaster Recovery defines a protection zone or site-level crisis, and facilitates the resumption of IT operations for applications and access to data.
Backup and Recovery generally presumes that the infrastructure is whole and 97 percent of use cases are related to files or small units.

## Slide 7: Hyper-V HA Services
Clustering
  Host-level
  Guest-level
Migration
  Quick migration
  Live migration
Shared Storage—must be supported by:
  Failover Clustering feature
  Hyper-V role
Notes: Hyper-V supports several high-availability technologies.
Clustering
You can cluster at host and guest levels.
Hosts must meet physical server requirements for clustering, such as shared storage and dedicated network interfaces.
It is possible to cluster guests by using virtual networks for heartbeat and other communications and virtual iSCSI-based shared storage. You can cluster guests on a single host (whether the host is in a physical cluster or not) or cluster guests across multiple physical clustered hosts.
Migration
You can migrate virtual machines by using two related migration technologies: quick migration and live migration.
Shared Storage
You must use shared storage that both the Failover Clustering feature and Hyper-V support. When you create the virtual machine, choose the option to store the virtual machine in a new folder and specify the location of the shared storage.

## Slide 8: Module 4 Lessons
Lesson 1: Overview of High Availability
Lesson 2: Failover Clusters
Lesson 3: Cluster Shared Volumes
Lesson 4: Business Continuity
Lesson 5: Migrating Virtual Machines
Notes: In Lesson 2, you learn about failover clustering, and how clustering is used to provide high availability for Hyper-V.

## Slide 9: Host Failover Clusters
Cluster Service runs inside (physical) host and manages VMs
  VMs move between cluster nodes
  Live migration—No downtime
  Quick migration—Session state saved to disk
SAN
Cluster
Notes: To create a Hyper-V host cluster, you must use a minimum of two nodes. Each node must be running Windows Server® 2008 R2 Enterprise or higher, because failover clustering is not included in Windows Server 2008 R2 Standard. After you have installed and configured the nodes, you can manually or automatically fail one or more virtual machines across nodes. Using three or more nodes enables failover clustering to use a load-balancing method that ensures that a single cluster node does not become overburdened with failed-over workloads.

## Slide 10: Two-Node Failover Cluster
Two-Node Failover Cluster
  Server consolidation platform for software development, branch office, and other design scenarios that require high-availability services
  Shared storage (iSCSI or Fibre Channel SAN)
  Failover clustering supports single live migration event (serial migration)
  Management by using out-of-the-box tools (Hyper-V Manager, Windows Server Backup, Failover Cluster Manager, and so on)
Notes: In a two-node failover cluster, each node of the cluster requires Windows Server 2008 R2 Hyper-V or Microsoft Hyper-V Server 2008 R2. The virtual machine configuration files and virtual hard disk files are placed on shared stored. Virtual machines can run on either node of the cluster and in the event of a node failure or planned outage, virtual machines can fail over to the other node.
The two-node failover cluster architecture provides a significant increase in overall availability of consolidated workloads and reduces the risks of consolidating a large number of physical server workloads to a single Hyper-V host. This configuration provides a server consolidation platform for test labs, software development environments, branch offices, and other design scenarios that require high-availability services.
The two-node failover cluster architecture is still basic enough that it does not necessarily require the deployment of VMM 2008 R2. It can also be managed with out-of-the box utilities such as Hyper-V Manager, Failover Cluster Manager, Windows Server Backup, and other utilities that support small cluster management functionality.

## Slide 11: Server Farm
Multi-Node Failover Cluster
  Server consolidation platform for data center and other design scenarios that require large VM consolidation, high performance, and high-availability services
  Shared storage (Fibre Channel SAN)
  Up to 16-node failover cluster to support multiple, concurrent live migration events
  Maximum of eight separate, but concurrent, live migrations in a 16-node cluster
  Dedicated failover nodes or load-balancing cluster designs
  System Center Virtual Machine Manager is recommended for server farm migrations because it enables queuing
Notes: In a multi-node Hyper-V failover cluster, all cluster nodes are connected to a shared storage system such as an iSCSI or Fibre Channel storage area network (SAN). If one or more cluster nodes fail, virtual machines are migrated to the remaining active nodes. Careful capacity planning is required for multi-node failover clusters. The key capacity planning rule for multi-node failover clusters is to ensure that the passive node is sized so that it can take on the entire load of the most heavily utilized active node. If resiliency against the failure of two active nodes is desired, the passive node must be able to take on the entire load of the two most heavily utilized active nodes.
A multi-node Hyper-V failover cluster architecture provides high availability for the consolidation of workloads. This configuration provides a server consolidation platform for data center and other design scenarios that require high consolidation ratios, high performance, and high-availability services.
For multi-node failover cluster deployments, the System Center management suite is recommended to provide end-to-end management and support queued migrations. Using the System Center suite, it is possible to take advantage of the integration benefits of System Center Virtual Machine Manager 2008 R2 and Microsoft System Center Operations Manager 2007 R2. In this way, you can ensure that you can utilize features such as Performance and Resource Optimization (PRO) tips to automate virtual machine migration, maintain high-performance service levels, and manage live migration events.

## Slide 12: Guest Failover Clusters
Guest Failover Clusters
  Cluster Service runs inside a VM
  The cluster manages the applications and services that are inside the VM
  Applications move between clustered VMs
iSCSI
Cluster
Notes: When creating guest failover clusters, you must first create the VMs for HA by using Failover Cluster Manager. Then, in System Center Virtual Machine Manager, you need to add the clustered host to System Center Virtual Machine Manager; until you add the host, its status will show as Pending. For more information, see the Virtual Machine Manager 2008 R2 Operations Guide at http://go.microsoft.com/fwlink/?LinkId=162004.
Note for Instructor Guide only:
Information about how to set up the networking for clustering is covered later in this module.

## Slide 13: Fault Recovery Scenarios
Fault | Host Cluster | Guest Cluster
Host Hardware Failure |  | 
Parent Partition Failure |  | 
VM Failure |  | 
Guest Operating System Failure |  | 
Application Failure |  | 
Notes: This chart provides a comparison of fault recovery scenarios that can you can mitigate by using host or guest failover clusters.

## Slide 14: Cluster Configuration
Storage Technology | Host Cluster | Guest Cluster
Fibre Channel |  | 
SAS |  | 
iSCSI |  | 
Every cluster component must have logo
Cluster solution must pass “Validation” for support
Notes: Hyper-V supports host-level failover clusters by using Serial Attached SCSI (SAS), iSCSI, or Fibre Channel shared storage technology. However, guest-level failover clusters only support an iSCSI-based shared storage configuration.
Note for Instructor Guide only:
Point out that VMware requires a separate virtual SCSI adapter for guest clustering.

## Slide 15: Failover Cluster Scalability
16 nodes per cluster (VMware*: 32)
1,000 VMs per cluster (VMware*: 3,000)
384 VMs per node limit (VMware*: 320)
* VMware vSphere 4.1
Notes: Specific limitations for using Hyper-V and the Failover Clustering feature are outlined below:
A maximum of 16 nodes in the failover cluster are allowed.
You can have a maximum of 1,000 virtual machines per cluster for server computer virtualization, with a maximum of 384 on any one node.
When you use Hyper-V in conjunction with Virtual Desktop Infrastructure (VDI) for client computer virtualization, you can have a maximum of 1,000 VDI (Windows® XP, Windows Vista®, or Windows® 7) virtual machines per cluster, with a maximum of 384 on any one node.
The number of virtual machines allowed for each node does not change, regardless of the size of the cluster.

## Slide 16: Module 4 Lessons
Lesson 1: Overview of High Availability
Lesson 2: Failover Clusters
Lesson 3: Cluster Shared Volumes
Lesson 4: Business Continuity
Lesson 5: Migrating Virtual Machines
Notes: In Lesson 3, you learn about cluster shared volumes, and how cluster shared volumes are used to provide shared storage and migration support for Hyper-V.

## Slide 17: Cluster Shared Volumes
Data over any network
VHD
VHD
VHD
Coordinator Node
1 LUN: Multiple VMs
Every cluster node can access storage
SAN
Recommended, but not required for live migration
CSV has no volume or VM limits
Notes: Cluster Shared Volumes (CSV) functions as a distributed-access file system that is optimized for Hyper-V. This means that any node in a cluster can access the shared storage and any node can host VMs, regardless of which node “owns” the storage.
CSV enables nodes to share access to storage so that applications on a storage device can run on any node, or on different nodes, at any time. CSV breaks the dependency between application resources (VMs) and disk resources for CSV disks. In a CSV environment, it does not matter where the disk is mounted because it will appear local to all nodes in the cluster.
CSV enables you to store Virtual Hard Disks (VHDs) on a single logical unit number (LUN) and run the VMs anywhere in the cluster. However, pass-through disks are not supported when using CSV. In addition, CSV enables live migration, which enables you to move a running VM from one node to another node without downtime. Disk ownership no longer needs to change when a VM moves to another node, so this makes the process quicker and safer, enabling clients to remain connected while the virtual machine is moved to another node in the cluster.
CSV is resilient to failures including the loss of the coordinator node, the node hosting the VM, a network path, and a connection to the storage. The cluster will stay up and running with little or no downtime.
Normally, Hyper-V accesses LUNs directly, but if the path to the LUN fails, the coordinator node is used for write access. Each CSV has one coordinator node; if the coordinator node fails, another node automatically takes over this role. Note that Hyper-V does require an operational coordinator node for actions such as initially copying VHD files to a LUN.
Note that CSV has no volume or VM limits.

## Slide 18: Benefits of CSV
Easier storage management
Independent failover of virtual machines
No drive letter restrictions
Enhanced availability
Efficient use of storage
Notes: Easier storage management. When virtual machines share volumes, you can configure and manage fewer LUNs to host the same number of virtual machines.
Independent failover of virtual machines. Although multiple virtual machines are sharing the same volume, each virtual machine can fail over, or be moved or migrated, independently of other virtual machines.
No drive letter restrictions. You do not need to assign a drive letter to Cluster Shared Volumes, so you are not restricted by the number of available drive letters, and you do not have to manage volumes by using GUIDs.
Enhanced availability. The Cluster Shared Volumes feature is designed to detect and handle many problems that would otherwise cause the storage to be unavailable to virtual machines. This includes detecting and handling storage connection problems (Cluster Shared Volumes reroutes the storage access through another node).
Efficient use of storage. You can make better use of disk space, because you do not need to place each VHD file on a separate disk with extra free space set aside just for that VHD file. Instead, any VHD file on that LUN can use the free space on a Cluster Shared Volume. This reduces the total amount of space that must be set aside for expansion, and simplifies capacity planning.

## Slide 19: Requirements for CSV
Storage
  Compatible with R2
  Servers from different clusters must not be able to access the same storage device
Networking
  Use public network for client connections
  Use dedicated networks for:
    CSV
    Internal communication and “heartbeat” traffic
    Live migration traffic
    iSCSI-based SAN traffic
Notes: All hardware must be “Certified for Windows Server 2008 R2” (as for any Windows cluster).
Separate networks in production environments ensure that the heartbeat network does not get flooded by live migration traffic and miss health checks, which would cause a failover.
The network for live migration traffic should be at least 1 gigabit per second (Gbps), depending on the size of the VMs.
Note for Instructor Guide only:
Emphasize that CSV is different from regular clustering, but has the same storage requirements. Compare this with SCSI reservations. The latter are used by Microsoft Cluster Server, and by VMware hosts, to ensure exclusive access to disk-based resources when multiple hosts are accessing the same shared storage resources.

## Slide 20: Recommendations for CSV
Host hardware
  Use a set of matching computers that contain either the same or similar features
Storage
  Use multipath I/O for the highest level of redundancy and availability
  Plan arrangement of LUNs, disks, volumes, and VHD files
  Mitigate disk contention by using storage that has a large number of spindles
Notes: The storage configuration for the virtual machine should closely resemble the storage configuration that you would use for a physical server running the same service, application, or role:
Place system files, including a page file, in a VHD file on one volume in CSV.
Place data files in a VHD file on another volume in CSV.
If you add another similar virtual machine, where possible, you should keep the same arrangement for that virtual machine's VHDs: place system and page files on the CSV volume that is used for system files, and data on the CSV volume that is used for data.
When you are deciding how many LUNs to configure, consult with your storage vendor. For example, your storage vendor may recommend that you configure each LUN with one partition and place one Cluster Shared Volume on it.
You can also mitigate disk contention by having storage that has a large number of spindles (physical disks that operate independently of one another). Choose your storage hardware accordingly, and consult with your vendor so that you understand how to optimize the performance of your storage. For more information, see http://technet.microsoft.com/en-us/library/ff182320(WS.10).aspx#BKMK_loads.
For more information about recommendations for CSV, see “Recommendations for Using Cluster Shared Volumes in a Failover Cluster in Windows Server 2008 R2” at http://technet.microsoft.com/en-us/library/ff182320(WS.10).aspx.
Note for Instructor Guide only:
Network recommendations for CSV are described in Lesson 5, “Migrating Virtual Machines,” later in this module.

## Slide 21: Creating CSVs
Preparation steps:
  Install Failover Clustering and the Hyper-V role on every node in the cluster
  Validate the cluster configuration
  Create a cluster
CSV configuration steps:
  Create a new volume on the SAN (for example, an iSCSI target)
  Enable Cluster Shared Volumes for the cluster
  Add a disk to the cluster
  Add storage by using the new disk
Post-configuration steps:
  Verify that the new CSV appears in %SystemRoot%\ClusterStorage on all nodes in the cluster
  Copy VHDs to the CSV, and so on
Notes: To configure CSV, you must first build a failover cluster. Windows Server 2008 R2 clustering supports iSCSI, Fibre Channel, and SAS for storage. CSV will work with any of these, as long as the disk is using the NTFS file system (NTFS) as the file system.
Preparation steps:
In Server Manager, install the Failover Clustering feature and the Hyper-V role on every node in the cluster.
Validate the cluster configuration by using the Validate a Configuration tool.
Create a cluster.
CSV configuration steps:
In Server Manager, create a new volume on the SAN (for example, an iSCSI target).
In Failover Cluster Manager, enable Cluster Shared Volumes for the cluster.
In Failover Cluster Manager, add a disk to the cluster.
In Failover Cluster Manager, add storage by using the new disk.
Post-configuration steps:
Verify that the new CSV appears in %SystemRoot%\ClusterStorage on all nodes in the cluster.
Copy VHDs to the CSV, and so on.

## Slide 22: High Availability with CSV
Cluster Shared Volumes (CSV)
  Enables multiple nodes to concurrently access a single “truly” shared volume
  Provides VMs with complete transparency as to which nodes actually own a LUN
  Makes it possible to move guest VMs without requiring any disk ownership changes
    No dismounting and remounting of volumes is required
Disk5
Single volume
VHD
VHD
VHD
SAN
Concurrent access to a single file system
Notes: Cluster Shared Volumes requires that nodes in the cluster have shareable access to disk resources. When a node fails over an application or service, the node that it fails over to gets control of that shared disk resource.
For virtual machines, this means that all of the files that make up the virtual machine must fail over together. The challenge is to move the required files without moving files that are part of other virtual machines. This has typically driven the requirement that each virtual machine must have its own dedicated LUN.
CSV enables you to utilize a single, large, shared LUN without physically transferring the LUN from one node to the other when a virtual machine is dynamically moved between nodes.
This eliminates the overhead of maintaining a large number of LUNs, disk path restrictions, and complex disk configurations.
CSV provides I/O connectivity, node, and network fault tolerance.
Notes for Instructor Guide only:
The next 3 slides provide an animated introduction to the fault tolerance provided by CSV.

## Slide 23: I/O Connectivity Fault Tolerance
VM running on Node 2 is unaffected
Coordination Node
SAN Connectivity Failure
VHD
I/O Redirected via network
VM’s can then be live migrated to another node with zero client downtime
SAN
Notes: [No notes—part of animation sequence]

## Slide 24: Node Fault Tolerance
Volume relocates to a healthy node
Brief queuing of I/O while volume ownership is changed
VHD
Node Failure
VM running on Node 2 is unaffected
SAN
Notes: [No notes—part of animation sequence]

## Slide 25: Network Fault Tolerance
Volume mounted on Node 1
Network Path Connectivity Failure
VHD
Metadata Updates Rerouted to redundant network
Fault-Tolerant TCP connections make a path failure seamless
VM running on Node 2 is unaffected
SAN
Notes: [No notes—part of animation sequence]

## Slide 26: Lab D: Creating and Configuring a Two-Node Hyper-V R2 Host-Based Failover Cluster
Lab and Class Discussion

## Slide 27: Module 4 Lessons
Lesson 1: Overview of High Availability
Lesson 2: Failover Clusters
Lesson 3: Cluster Shared Volumes
Lesson 4: Business Continuity
Lesson 5: Migrating Virtual Machines
Notes: In Lesson 4, you learn about the technologies that are used to enable business continuity for services provided through Hyper-V.

## Slide 28: Business Continuity
Resurrecting Hyper-V hosts and VMs from disasters
High availability cluster in a single location does not protect from disasters
Protection options
  Stretched clusters
    Extends a cluster from a high-availability solution to a disaster recovery solution
  DR solutions
    Solutions that allow recovery in a different location
Notes: Business continuity planning is the ability to minimize scheduled and unscheduled downtime for IT systems in an organization. Even though high availability can be achieved with local clustering, this will not safeguard a company from the entire data center or hosting facility going down. In this event, a disaster recovery (DR) solution needs to have geographically dispersed clusters in addition to the means to replicate data over these distances and restart the total infrastructure from the secondary cluster site.
It is possible to classify virtualization solutions that address DR, including data replication, into three categories:
Software-based solutions. Software-based data replication solutions are third-party software suites that the application server hosts, which replicate data over the wide area network (WAN).
Appliance-based solutions. For appliance-based data replication solutions, all intelligence that is required to perform the replication is housed in an appliance that resides in the I/O path between the host and the storage, typically in a SAN.
Array-based solutions. In an array-based data replication solution, the replication is native to the storage controllers.

## Slide 29: Business Continuity
Multi-site (stretch) cluster
  Live migration over distance
  Scalability of local failover cluster
  VLAN or multi-subnet configuration
  WAN communication encryption
Configuration differences
  Multiple storage arrays—independent per site
  Storage does not have to pass cluster validation check
  Hardware-level, software-level, or application-level replication
  CSV support—storage-dependent
  WAN latency and bandwidth considerations
Notes: To address business continuity, you can also use the failover clustering functionality in Windows Server 2008 R2 to implement multi-site, or stretch, clusters that support live migration. Configuration of a multi-site cluster requires multiple storage arrays with a hardware-level, software-level, or application-level replication mechanism.

## Slide 30: Stretched Clusters
Protects against loss of an entire location
Automates failover
  Reduced downtime
  Lower complexity disaster recovery plan
Reduces administrative overhead
  Automatically synchronize application and cluster changes
  Easier to keep consistent than stand-alone servers
Notes: Stretch clustering, or geographically dispersed clustering, mitigates the issues involved with local clustering. When a primary site goes down due to natural or manufactured disasters, local clustering is not enough to achieve the required uptime of mission-critical applications. If a specific site has clusters that span different zones, it is possible to fail over applications to the secondary site that is unaffected by the primary site downtime. Stretch clustering writes data to both the primary storage system and the remote storage system.

## Slide 31: Network Issues
Network deployment options
  Stretch VLANs across sites
  Cluster nodes can reside in different subnets
Site A
Public Network
10.10.10.1
20.20.20.1
30.30.30.1
40.40.40.1
Redundant Network
Site B
Notes: Windows Server 2008 R2 affords much more flexibility in implementing multi-site failover clusters. For example, administrators no longer have to stretch VLANs across the WAN to accommodate geographically distant servers that are on different subnets; failover cluster nodes can now reside on completely different subnets. The introduction of OR logic enables the use of two IP addresses. This means that the IP addresses can reside in different subnets across a routed network, eliminating the need to create VLANs.

## Slide 32: Updating VM IP across Subnet
On cross-subnet failover, if guest is
Use DHCP in a guest operating system for failover across subnet boundaries
DHCP
Static IP
Can be scripted
IP updated automatically
Administrator needs to configure new IP
Notes: Cluster nodes can obtain IP address information via Dynamic Host Configuration Protocol (DHCP). The configuration of a cluster node's network interfaces determines which networks will use static or dynamic IP addresses. Even if an IP address resource in a failover cluster is obtained from a DHCP server, you can change it to a static IP address in the Failover Cluster Management snap-in.

## Slide 33: Client Reconnect Considerations
Nodes in dissimilar subnets
VM obtains the new IP address
Clients need that new IP address from the DNS server to reconnect
10.10.10.111
20.20.20.222
DNS Server 1
DNS Server 2
DNS Replication
Record Created
VM = 10.10.10.111
Record Updated
Site A
Site B
Record Updated
20.20.20.222
Notes: When a cluster network name resource comes online, it registers with a Domain Name System (DNS) server if the DNS server supports dynamic registrations. Any A-Record or AAAA-Record that is registered includes the following information:
The IP address information for the IP address resource that successfully comes online.
A default Time to Live (TTL) entry.
By default, the record is updated at least once every 24 hours. The default TTL that is registered is 20 minutes.
The default private property settings for cluster network name resources may cause delays when clients try to reconnect to cluster resources after a failover of a highly available application or a service group. There are network name resource private properties that you can modify to optimize name resolution behavior. Such optimization makes clients reconnect faster after a failover.

## Slide 34: Stretch VLAN Option
VLAN minimizes client reconnection times
  IP address of the VM does not need to change
DNS Server 1
DNS Server 2
FS = 10.10.10.111
Site A
Site B
10.10.10.111
10.10.10.111
VLAN
Notes: By using VLANs, you can still minimize client reconnection issues because the IP address of the VM does not need to change after a failover.
Note for Instructor Guide only:
Make sure that students understand how stretch VLANs help with multi-site clustering, especially which options allow this and which don't. (Slide 57, later in this module, covers this.)

## Slide 35: Abstract Network Device IP Option
Network device uses third IP address
Third IP address is the one registered in DNS and used by the client
10.10.10.111
20.20.20.222
DNS Server 1
DNS Server 2
VM = 30.30.30.30
Site A
Site B
30.30.30.30
Notes: There is also the option to abstract the VM IP address by using a network device to mask the underlying IP addresses and always present the same IP address to clients.

## Slide 36: Storage in Multi-Site Clusters
Different from local clusters
  Multiple storage arrays—independent per site
  Nodes commonly access own site storage
  No “true” shared disk visible to all nodes
Site B
SAN
Site A
Site B
Notes: When building stretched clusters, storage configurations will differ from those for a local cluster.
Multi-site failover clusters require multiple storage arrays, with at least one storage array deployed at each site. This ensures that, if any one site fails, the other site or sites will have local copies of the data that they can use to continue to provide the services and applications.
Multi-site cluster nodes are connected to storage in such a way that, if a site or the communication links between sites fail, the nodes on a given site can access the storage on that site. In other words, in a two-site configuration, the nodes in Site A are connected to the storage in Site A directly, and the nodes in Site B are connected to the storage in Site B directly. The nodes in Site A can continue without accessing the storage on Site B and vice versa.

## Slide 37: Storage Issues
Site A
Changes are made on Site A and replicated to Site B
Requires data replication mechanism between sites
Site B
SAN
Site A
Site B
Replica
Notes: Keeping the storage arrays synchronized requires an additional mechanism or software to perform consistent and timely data replication. There are multiple methods to select based on data replication requirements.

## Slide 38: Cluster Replication Options
Methods
  Synchronous
  Asynchronous
Types
  Hardware
  Software
  Appliance
Notes: A local cluster will have a single, shared storage solution (SAN, iSCSI, and so on) with very low LAN latency. A shared cluster is typically across a high-latency link and configured with a separate storage solution on each side. This requires a replication mechanism to keep the two storage solutions in sync.
At the hardware level (the block level), storage controllers or mirroring software perform replication. At the file-system level (that is, replicating file system changes), the host software performs the replication. Finally, at the application level, the applications themselves can replicate data. The method of data replication that you use depends on the requirements of the application and the business needs of your organization for your multi-site cluster.
In addition, data consistency needs differ for different failure and recovery scenarios. Therefore, when determining the support requirements of your applications with regard to replication in multi-site clusters, the type of data replication is just as important as the level at which it occurs. There are two types of data replication:
Synchronous replication supports the scenario where an application performs an operation on one node at one site, and then that operation is not completed until the change has been made on the other sites. Therefore, synchronous data replication holds the promise of no data loss in the event of failover for multi-site clusters that can take advantage of it.
Asynchronous replication is when a change is made to the data on Site A and that change eventually occurs on Site B. Multi-site clusters that use asynchronous data replication can generally stretch over greater geographical distances with no significant impact on application performance.

## Slide 39: Synchronous Replication
Host receives “write complete” response from the storage after the data is successfully written on both storage devices
Primary Storage
Secondary Storage
Write Complete
Acknowledgment
Write Request
Replication
Notes: Using synchronous, block-level replication as an example, if an application at Site A writes a block of data to a disk mirrored to Site B, the I/O operation will not be completed until the change has been made to both the disk on Site A and the disk on Site B.
In general, synchronous data replication is best for multi-site clusters that can rely on high-bandwidth, low-latency connections. Typically, this will limit the application of synchronous data replication to geographically dispersed clusters whose nodes are separated by shorter distances. Although synchronous data replication protects against data loss in the event of failover for multi-site clusters, it comes at the cost of application performance due to latencies from delayed application writes and acknowledgement times. This potential latency means that synchronous replication can slow or otherwise detract from application performance for your users.

## Slide 40: Asynchronous Replication
Host receives “write complete” response from storage after data is successfully written to the primary storage device, not after replication to the secondary storage device
Primary Storage
Secondary Storage
Write Complete
Write Request
Replication
Notes: In asynchronous replication, if an application at Site A writes a block of data to a disk mirrored to Site B, the I/O operation is complete as soon as the change is made to the disk at Site A. The replication software transfers the change to Site B (in the background) and eventually makes that change to Site B.
When exploring the increased performance that asynchronous replication affords over clusters that use synchronous data replication, the primary consideration to keep in mind is data consistency.
If there is a hard failure of a node in a multi-site cluster that uses asynchronous data replication, you must be prepared to lose some data. For asynchronous replication, the data at Site B can be out of date with respect to Site A at any time. This is because a node may fail after it has written an application transaction to storage locally, but before it has successfully replicated that transaction to the other site or sites in the cluster. If that site goes down, the application failing over to another node will be unaware that the lost transaction ever took place.
Preserving the order of application operations that are written to storage is also an issue with asynchronous data replication. Different vendors implement asynchronous replication in different ways. Some preserve the order of operations and others do not. This distinction is crucial, because if a solution preserves ordering, the disk at Site B might be out of date, but it will always represent a state that existed at Site A at some point in the past. This means that Site B is crash-consistent.

## Slide 41: Synchronous vs. Asynchronous Replication
 | Synchronous |  | Asynchronous
 | No data loss |  | Potential data loss on hard failures
 | Requires high-bandwidth/low-latency connection |  | Enough bandwidth to keep up with data replication
 | Stretches over shorter distances |  | Stretches over longer distances
 | Write latencies impact application performance |  | No significant impact on application performance
Notes: This chart compares using synchronous replication versus asynchronous replication. As shown, asynchronous replication is usually the default solution for stretched cluster scenarios.

## Slide 42: Cluster Validation with Replicated Storage
Multi-site clusters are not required to pass the storage tests to be supported
Validation Guide and Policy
  http://go.microsoft.com/fwlink/?LinkID=119949
Notes: A multi-site cluster solution where nodes are stretched across geographic areas does not need to pass the "storage" tests to be a fully supported solution. Typically, when you install a cluster, you are required to go through a cluster validation process. The validation process does a complete test of the cluster configuration (disk, network, shared storage failover, and so on) to validate that all cluster actions are operational. This is required for the cluster to be in a supported configuration.
A stretch cluster is not required to pass the storage validation tests because the storage is not usually shared between the cluster nodes. The stretch cluster is still required to pass the other tests in the validation process for the cluster to be supported.

## Slide 43: Storage Virtualization Abstraction
Site B
Site A
Some replication solutions provide complete abstraction in a storage array
Servers are unaware of accessible disk location
Fully compatible with Cluster Shared Volumes
Virtualized storage presents logical LUN
Servers abstracted from storage
Notes: Some vendors provide storage virtualization abstraction solutions. Using these types of solutions, multiple, independent storage devices that are scattered across multiple geographic and network sites appear as a single storage device to the multi-site cluster nodes.

## Slide 44: Hardware Replication
Hardware replication partners
  EMC
    SRDF/CE for DMX arrays, RecoverPoint /CE for CLARiiON arrays
  HP
    HP StorageWorks CLX, HP LeftHand
  Hitachi
    Hitachi StorageCluster (HSC)
  Compellent (Dell)
    LiveVolume
  NetApp
    MetroCluster
  IBM
    IBM XIV Storage System
Notes: The slide provides a list of some of the Microsoft hardware partners that support creating stretch cluster solutions. These vendors provide hardware replication solutions and require the source and destination sites to have matching hardware solutions.

## Slide 45: Software and Appliance Replication
Software-based replication
  Double-Take
    Availability
  SteelEye
    DataKeeper Cluster Addition
  Symantec
    Storage Foundation for Windows
Appliance-based replication
  FalconStor
    Continuous Data Protector
  DataCore software
    SANsymphony
Notes: This slide provides a list of Microsoft software replication partners that support solutions for stretched cluster configurations. For software-based solutions, asynchronous replication technologies result in slight delays of content replication. Both sides of the cluster typically have to run the same replication software.
Appliance-based replication partners provide black-box solutions that replicate the information from the source appliance to the destination appliance at the remote location.

## Slide 46: Data Center Recovery Partners
Citrix Essentials for Hyper-V augments Hyper-V DR by automating disaster recovery configuration
  StorageLink Site Recovery manages storage automation
  Workflow orchestration for VM site failover
  Non-disruptive testing and staging of VM prior to failover
  Single-click failback
  Recovery plans
  Integrates with System Center Virtual Machine Manager
Notes: Citrix Essentials for Hyper-V provides a solution that you can consider if you do not have an existing storage vendor relationship. Citrix solutions also have the advantage of integrating with System Center Virtual Machine Manager.

## Slide 47: Data Center Recovery Using System Center Orchestrator
System Center Orchestrator supports custom workflows for recovery processes
Notes: Microsoft System Center Orchestrator supports custom workflows as alternative to the Citrix solution.
Note for Instructor Guide only:
Point out to students that System Center Orchestrator (previously called System Center Opalis) is covered in Module 7, “Automating Processes for Virtualization Management”.

## Slide 48: Multi-Site Clustering Content
Design guide
  http://technet.microsoft.com/en-us/library/dd197430.aspx
Deployment guide, or checklist
  http://technet.microsoft.com/en-us/library/dd197546.aspx
Hyper-V Business Continuity portal
  http://www.microsoft.com/virtualization/en/us/solution-continuity.aspx
Microsoft Cross-Site Disaster Recovery Solutions white paper
  http://download.microsoft.com/download/3/6/1/36117F2E-499F-42D7-9ADD-A838E9E0C197/SiteRecoveryWhitepaper_final_120309.pdf
Notes: These resources are good references for the planning and design of stretch clusters.

## Slide 49: Module 4 Lessons
Lesson 1: Overview of High Availability
Lesson 2: Failover Clusters
Lesson 3: Cluster Shared Volumes
Lesson 4: Business Continuity
Lesson 5: Migrating Virtual Machines
Notes: In Lesson 5, you learn about the methods in Hyper-V that are used to migrate virtual machines between hosts.

## Slide 50: Live vs. Quick Migrations
Quick migration
  Some perceived downtime
  No VHD or memory state copying between hosts
  No data copying between hosts
  Bandwidth requirement is low
Live migration (similar to VMware vMotion)
  No perceived downtime
  Memory state copied between hosts
  Shared storage switched across hosts
  Bandwidth requirement can be high
Notes: Live migration and quick migration both move running VMs from one Hyper-V physical computer to another.
In quick migration, VMs are saved, moved, and then restored to a VM, which results in some downtime. For quick migration, there is no data copying between hosts—the migration is a simple disconnect and connect to the other host. No VHD or memory state is copied between hosts, so the bandwidth requirement to make it a good experience is much lower.
In live migration, running VMs are moved from one physical host to another, without any disruption or perceived loss of service. This makes live migrations the preferred migration type when users must have uninterrupted access to the migrating VM. A live migration will complete in less time than the TCP time-out for the migrating VM, so users will not experience any outage for the migrating VM. TCP time-out intervals vary based on network topology and other factors.
Live migration is supported on the following editions of Windows Server 2008 R2:
Windows Server 2008 R2 x64 Enterprise
Windows Server 2008 R2 x64 Datacenter
Live migration is also supported on Microsoft Hyper-V Server 2008 R2.
For comparison, VMware vMotion:
Has no perceived downtime.
Has its memory state copied between hosts.
Has its Shared Virtual Machine File System (VMFS) storage switched across hosts.
Requires sufficient bandwidth to send all memory state changes without noticeable interruption to VM availability.

## Slide 51: Initiating a Live Migration
Using the Failover Cluster Management console
Using the System Center Virtual Machine Manager administration console (if System Center Virtual Machine Manager is managing hosts)
Using a WMI or Windows PowerShell script
Notes: You can initiate live migration in several ways:
Using the Failover Cluster Management console, an administrator can initiate a live migration.
If System Center Virtual Machine Manager is managing physical hosts that are configured to support live migration, you can use the System Center Virtual Machine Manager administration console to initiate a live migration.
You can use a Windows® Management Instrumentation (WMI) or Windows PowerShell™ script to initiate a live migration.

## Slide 52: Live Migration Process
Live migration setup
Memory pages are transferred from the source node to the destination node
Final memory pages are transferred
Storage handle is moved from source to destination
VM is brought online on the destination server
Network cleanup
Notes: The live migration process is as follows:
Live migration setup. The source physical host creates a TCP connection with the destination physical host. This connection is used to transfer the VM configuration data to the destination physical host. A skeleton VM is set up on the destination physical host and memory is allocated to the destination VM.
Memory pages are transferred from the source node to the destination node. The memory that is assigned to the migrating VM is copied over the network to the destination physical host. During this phase of the migration, the migrating VM continues to run. Hyper-V iterates the memory copy process several times. Each time, a smaller number of modified pages will need to be copied to the destination physical computer.
Final memory pages are transferred. A final memory copy process copies the remaining modified memory pages for the VM to the destination physical host. The source physical host transfers the register and device state of the VM to the destination physical host (and source VM is now paused). During this stage of the live migration, the network bandwidth available between the source and destination physical hosts is critical to the speed of the live migration. For this reason, 1-gigabit Ethernet is recommended. The faster the source physical host can transfer the modified pages from the migrating VMs working set, the more quickly the live migration will complete.
Storage handle is moved from source to destination. Control of the storage associated with source host , such as any VHD files or pass-through disks, is transferred to the destination physical host.
VM is brought online on the destination server. The destination server now has the up-to-date working set for the virtual machine in addition to access to any storage that the VM uses. At this point the VM is resumed.
Network cleanup. The migrated VM is running on the destination server. At this point a message is sent to the physical network switch, which causes it to re-learn the media access control (MAC) addresses of the migrated VM so that network traffic to and from the migrated VM can use the correct switch port.

## Slide 53: Live Migration Initiate migration
IT administrator initiates a live migration to move a VM from one host to another
Client accessing VM
VHD
Use Live Migration to migrate this VM to another physical machine
SAN
Notes: The process starts when the IT administrator initiates a live migration.
Notes for Instructor Guide only:
The next 5 slides build to an animated introduction to the live migration process.

## Slide 54: Live Migration Memory copy: Full copy
Memory content is copied to new server
VHD
VM pre-staged
The first initial copy is of everything in memory content
SAN
Notes: [No notes—part of animation sequence]

## Slide 55: Live Migration Memory copy: Dirty pages
VHD
Pages are being dirtied
Client continues to access VM
Client continues to access VM, which results in memory being modified
SAN
Notes: [No notes—part of animation sequence]

## Slide 56: Live Migration Memory copy: Incremental copy
Subsequent passes get faster because the data set is smaller
VHD
Smaller set of changes
Recopy of changes
SAN
Hyper-V tracks changed data, and recopies over incremental changes
Notes: [No notes—part of animation sequence]

## Slide 57: Live Migration Final transition
VHD
Partition state copied
Window is very small and within TCP connection time-out
VM paused
SAN
Notes: [No notes—part of animation sequence]

## Slide 58: Live Migration Post-transition: Clean-up
Session state is maintained, so no reconnections necessary
VHD
Old VM deleted after migration is verified successful
Client directed to new host
SAN
ARP issued to have routing devices update their tables
Notes: [No notes—part of animation sequence]

## Slide 59: Factors Affecting Live Migration Speed
Number of modified pages on the VM to be migrated
Available network bandwidth between source and destination physical computers
Hardware configuration of source and destination physical computers
Load on source and destination physical hosts
Available bandwidth (network or Fiber Channel) between physical hosts and shared storage
Notes: The following variables may affect live migration speed:
The number of modified pages on the VM to be migrated: the larger the number of modified pages, the longer the VM will remain in a migrating state.
Available network bandwidth between source and destination physical computers.
Hardware configuration of source and destination physical computers.
Load on source and destination physical hosts.
Available bandwidth (network or Fibre Channel) between Hyper-V physical hosts and shared storage.

## Slide 60: SAN Migrations
Require System Center Virtual Machine Manager 2008 or 2008 R2
Types of supported transfer:
  Storing a virtual machine from a virtual machine host in the System Center Virtual Machine Manager library
  Deploying virtual machines from a System Center Virtual Machine Manager library to a host
  Migrating a virtual machine from one host to another
Notes: Using System Center Virtual Machine Manager 2008 and System Center Virtual Machine Manager 2008 R2, you can use a SAN to perform the following types of virtual machine transfers between a source computer and a destination computer:
Storing a virtual machine from a virtual machine host in the System Center Virtual Machine Manager library.
Deploying virtual machines from a System Center Virtual Machine Manager library to a host.
Migrating a virtual machine from one host to another.

## Slide 61: WAN Migrations by Using CSV
Live migrations across sites:
  Use Cluster Shared Volumes and stretched clusters
  CSV does not support having nodes in dissimilar subnets
  Use VLAN to achieve live migrations between sites
Site A
Site B
VLAN
CSV network
Notes: There are obvious advantages of using Cluster Shared Volumes to support live migration in a multi-site cluster. However, all nodes in the cluster must share the same IP subnets between them because it is not possible to route CSV network traffic. For multi-site clusters, this means that it is necessary to use stretched VLANs.
For long-distance live migrations, it is necessary to stretch across the IP subnet (because CSV does not support having nodes in dissimilar subnets) and use asynchronous storage replication.

## Slide 62: Network Configurations for Successful Live Migrations
Microsoft failover clustering must be configured on all physical hosts that will use live migration
Failover clustering supports up to 16 nodes per cluster
The cluster should be configured with a dedicated network for the live migration traffic
Physical host servers must use a processor or processors from the same manufacturer
Physical hosts must be configured on the same TCP/IP subnet
Physical hosts must have access to shared storage
Notes: For successful live migrations, it is important that the network infrastructure is correctly configured:
Microsoft failover clustering must be configured on all physical hosts that will use live migration.
Failover clustering supports up to 16 nodes per cluster.
The cluster should be configured with a dedicated network for the live migration traffic.
Physical host servers must use a processor or processors from the same manufacturer.
Physical hosts must be configured on the same TCP/IP subnet.
Physical hosts must have access to shared storage.

## Slide 63: Recommendations for Successful Live Migrations (1)
Use Cluster Shared Volumes
Only one live migration can be active between any two cluster nodes at any time
Dedicated 1-gigabit Ethernet connection is recommended for the live migration network
Notes: A clustered shared volume is recommended for VM storage in a cluster where live migration will be used.
One live migration can be active between any two cluster nodes at any time. This means that a cluster will support x number of simultaneous live migrations, where x equals the number of nodes ÷ 2. For example, a 16-node cluster will support eight simultaneous live migrations with no more than one live migration session active from every node of the cluster.
A dedicated 1-gigabit Ethernet connection is recommended for the live migration network between cluster nodes to transfer the large number of memory pages that is typical for a virtual machine.
Note that, by enabling Cluster Shared Volumes for a failover cluster, all nodes in the cluster will be enabled to use shared volumes.

## Slide 64: Recommendations for Successful Live Migrations (2)
Networking for live migration is configured on one VM, but settings apply globally across the whole cluster
Multiple networks can be selected
Networks should be ordered, with networks without a default gateway located first
Live migration and CSVs should not use the same network
Notes: When you configure a network for live migration for a specific VM, the setting is global and therefore applies to all VMs. To configure a cluster network for live migration:
In the Failover Cluster Manager snap-in, select or specify the cluster that you want to configure.
In the Services and applications console tree, select a clustered VM.
In the properties of the VM, click the Network for live migration tab, and then select one or more cluster networks to use for live migration.
Move the cluster networks up or down to ensure that a private cluster network is the most preferred. The default preference order is as follows:
Networks that have no default gateway should be located first.
Networks that are used by Cluster Shared Volumes and cluster traffic should be located last.
Live migration will be attempted in the order of the networks specified in the list of cluster networks. If the connection to the destination node by using the first network is not successful, the next network in the list is used until the complete list is exhausted, or until there is a successful connection to the destination node by using one of the networks.
If you have more than one cluster network listed in Network for live migration, you should change the priority order to avoid having live migration and Cluster Shared Volumes use the same network.

## Slide 65: Recommendations for Successful Live Migrations (3)
Enable dynamic memory—this means that the live migration process only has to copy used memory pages to the target
Used RAM
Maximum RAM
Live migration copy
Notes: If dynamic memory is enabled on a VM that is being migrated, the migration process only has to copy used memory pages to the target host.
If the VM is configured to use 512 MB of memory at startup and a maximum of 4,096 MB, but is only using 640 MB of memory, the live migration process only needs to copy 640 MB.
The live migration process is, therefore, quicker even over 1-gigabit networks.
Note for Instructor Guide only:
Dynamic memory was covered in Module 2, Lesson 2, “Differentiating Microsoft and VMware Terminology and Solutions.”

## Slide 66: Lab E: Configuring System Center Virtual Machine Manager 2008 R2
Lab and Class Discussion

## Slide 67
© 2011 Microsoft Corporation. All rights reserved. Microsoft, Windows, Windows Vista and other product names are or may be registered trademarks and/or trademarks in the U.S. and/or other countries.
The information herein is for informational purposes only and represents the current view of Microsoft Corporation as of the date of this presentation. Because Microsoft must respond to changing market conditions, it should not be interpreted to be a commitment on the part of Microsoft, and Microsoft cannot guarantee the accuracy of any information provided after the date of this presentation. MICROSOFT MAKES NO WARRANTIES, EXPRESS, IMPLIED OR STATUTORY, AS TO THE INFORMATION IN THIS PRESENTATION.